## Introduction
Knowledge-sharing (KS) | Knowledge-sharing is defined as the information to be shared and activities to be undertaken by the project at the different project stages in order to de-risk the innovative technologies or solutions with regard to scaling up to a commercial size and to accelerate deployment and commercialisation of the technologies.
Communication and dissemination | For the purposes of the KS plan, communication and dissemination is understood to be the communication and dissemination activities that the applicant plans to undertake to promote the project and the technologies, products or business models that are being demonstrated.
Knowledge-sharing plan | A knowledge sharing (KS) plan, including communication and dissemination activities, shall be submitted as part of the application for the Innovation Fund at second stage. The KS Plan shall set the objectives, key messaging, target audiences, communication channels, social media plan, and relevant indicators for monitoring and follow up of KS activities.
This template | This template serves as the knowledge sharing reporting template on relevant knowledge generated from Innovation Fund projects after grant award. Applicants are welcome to provide additional indicators specific to their project and innovative technologies, which they are willing to share knowledge on. Applicants are encouraged to foresee both quantitative indicators and qualitative elements. If the proposal is successful, the beneficiary will be reporting on all general knowledge-sharing elements and all specific knowledge-sharing elements identified at the time of the application. The quality and extent of the knowledge-sharing plan will be assessed under scalability.
Contents | The template is organised in the following sections. Sector tabs are developed as an example for some of the technologies. They aim at completing (and not substituting) the A1 Technical Set-up and Performance section. If the project concerns a technology outside the specific sector tabs that are developed, the applicant is encouraged to develop own specific parameters to match the level of detail provided in the sector tabs.
General project details
Contact details of the person responsible for the knowledge-sharing report
A1 Technical Set-up and Performance (L1)
A2 Technical Set-up and Performance (L2)
B Actual GHG emission avoidance (only L2)
C Cost and revenues (L1)
D1 Project Management (L1)
D2 Project Management (L2)
E Environmental Impact (only L2)
F Health and Safety (only L2)
Periods of reporting | The relevant knowledge to be shared will cover the whole project cycle from award to financial close over entry into operation and during operation. Beneficiaries will provide the following relevant knowledge (RK) reports: 1) RS report after financial close; 2) RK report after entry into operation 3) annual RS reports for the period of operation.
Knowledge-sharing levels | Knowledge shall be shared at level 1 and level 2 recipients, defined as follows:
Level 1 (L1) | Level 1 recipients are all Innovation Fund projects in the relevant sector, and any other project which has agreed to share the same level of detail of information with INEA and the Commission services responsible for implementation of the Innovation Fund (in short Commission)
Level 2 (L2) | Level 2 recipients are the wider technology community (e.g. other potential users of the technology/the solution/the business model etc.), the Commission, Member States, researchers, non-governmental organisations (NGOs), international organisations and other projects and, where appropriate, the public.
Aggregation and anonymization | The Commission may decide when appropriate, to aggregate Level 1 relevant knowledge to be shared at or beyond Level 1 recipients (i.e. at Level 2), with the objective that the result cannot be ascribed to individual projects, organisations or persons.
Dissemination | The Commission may aggregate relevant knowledge and disseminate it when it contributes to the overall goals of the knowledge-sharing: 1) de-risking of the innovative technologies with regard to scaling up to commercial size; 2) acceleration of the deployment; 3) increasing the undertaking of, and confidence in, the innovative technologies by the wider public; 4) maintenance of a competitive market. Aggregation may take place: - Where specific data and information is considered important to be communicated at a broader level, this can be aggregated in a manner that 'de-sensitizes' information considered to be too commercially sensitive to be released on a general level (e.g. cost breakdown); - Where it is considered important to aggregate knowledge in order to communicate best practice in a more general area between similar projects (e.g. good practice in developing health and safety plans); - Where relevant knowledge is considered important to be communicated at a broader level, however the information is of a highly technical nature, and thus may need simplified in order to make it accessible.

## IF general
All projects | DRAFT KNOWLEDGE-SHARING TEMPLATE |  |  |  |  | Instructions: please fill in all relevant fields for the reporting period. If not applicable, clearly mark as n/a and explain why
Please provide all data that is quantitative also in separate clearly marked tabs
General project details | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | If no change, please mark same as previous period
Project number
Project name
Project location(s)
Geographical coordinates of all relevant elements of the project | [5 empty] | Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet. (e.g. location of wind turbines)
Category
Sector
Principal products
Main technological pathways
Date of financial close
Date of entry into operation
End of monitoring period
Contact details of the person responsible for the knowledge-sharing report
Name
Title/Position
Organisation
Address
Telephone
Email address
A1 Technical Set-up and Performance (L1) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | This is the general template for technical set-up and performance. Add technical parameters as necessary for your specific project. If a tab exists for your technology, please fill in the respective tab as well.
A1.1 Technical description
Overview of technology and related infrastructure
Block-flow diagram of the system | [5 empty] | If there are deviations from the initial diagram, add a line and explain why.
Summary of the design
Innovative aspects of the project
A1.1.1 Technology 1 | [5 empty] | Copy and fill in as many times as needed
Description of design
Details of sub-installation 1 | [5 empty] | Copy and fill in as many times as needed
A1.2 Construction / installation process
Construction and installation | [5 empty] | Details of construction / installation process
Installation technologies used
Weather risks
Final layout | [5 empty] | Provide a description of the final structure / layout of the hydrogen production project and position with respect to other facilities
Challenges and limitations | [5 empty] | What technical challenges related to installation/construction have been encountered? Have they impacted the project plan and expected taking over date (if any)? Unforeseen risks or conflicts in relation to equipment supply delays, technical implementation issues due to scalability or in-situ constraints, land dispute, performance risks, interconnection risks, difficulties managing interfaces. Experienced difficulties in reaching the planned project design, e.g. due to technical limitations. Encountered difficulties in getting final approvals to get technology/solution into operation
Connections and interfaces with existing facilities, other plants, installations, pipelines, grid | [5 empty] | Describe the interfaces with existing facilities, other plants, installations, pipelines, grid. Were any challenges encountered during construction or operation and how were they handled?
Fluctuating electricity supply | [5 empty] | If the facility is coupled with a fluctuating electricity supply, please provide information on how this impact safety and operation (e.g.: cut off values and cross-over issues).
A1.3 Resource and Yield Assessment | [5 empty] | Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet (or add an additional tab to the excel sheet if needed) * monthly average data over the previous operative year * total yearly data versus total project capacity
Input (raw material) | [5 empty] | Copy and fill in as many times as needed
Yield (final principal product) quantitative | [5 empty] | Copy and fill in as many times as needed
Reliability and downtime | [5 empty] | Reliability and generalised causes of downtime plus impacts of any changes to operating conditions
A1.4 Summary of remote communication devices and instrumentation used | [5 empty] | Description of the data to be transferred Communications technology
A1.5 Monitoring | [5 empty] | Provide a description of the monitoring methodology used, include:
Description of monitoring methodology | [5 empty] | * the measurement method to calculate the project outputs (including formulas and parameters) * the type of measurement instruments, location and frequency of use * indicate the uncertainty of the annual amount of outputs produced, including an assessment of the potential changes in the quality of raw materials * quality assurance, control and contingency efforts in case of monitoring failure
A1.6 Operation and maintenance | [5 empty] | Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet (or add an additional tab to the excel sheet if needed)
Corrective maintenance | [5 empty] | Number of site visits made and downtime hours for corrective maintenance Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet. This particularly concerns the Number of site visits made and downtime hours for corrective maintenance.
Preventive maintenance | [5 empty] | Number of site visits made and downtime hours for preventive maintenance Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet. This particularly concerns the Number of site visits made and downtime hours for preventive maintenance.
Mean Time to Repair
Mean Time to Failure
Total maintenance and repair | [5 empty] | Total number of maintenance and repair hours over the project lifetime (to date) and per production unit where relevant. Please also specify what subcategories you consider for preventive and corrective maintenance. Balance of plant interventions should be included.
Maintenance equipment and mode of transport
Project specific technical parameters | [5 empty] | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary.
A1.7 Suitability for scaling-up
Suitability for scaling-up | [5 empty] | Based on the performance and experience gained during the project programme thus far, comment on the suitability of the technology to be scaled-up, including any required changes in design, construction methods or materials and any risks foreseen
Potential for cost reductions | [5 empty] | What is the potential for cost reduction due to scalability and more experience with next plants? What elements of the technological solution have biggest potential for cost reductions?
Deviations | n/a |  |  |  |  | Comment on any deviations from the previous reporting period phase and reasons therefore. Include a separate line under each parameter where deviations occurred
A2 Technical Set-up and Performance (L2) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet (or add an additional tab to the excel sheet if needed)
Plant design
Operating approach
Construction / installation process | [5 empty] | What aspects in the project implementation plan helped reaching entry into operation? Key risks/issues/uncertainties in relation to the project critical to reaching entry into operation (if any)?
Monthly performance | [5 empty] | Average monthly performance
Reliability and causes of downtime | [5 empty] | Per production unit where relevant
Average annual savings | [5 empty] | Average annual savings in raw material, energy usage and/or GHG emissions compared to performance of the facility before the implementation of the innovation or compared to a conventional facility
Impacts of any changes to operating conditions and/or product(s) made
Data acquisition methods, accuracy of data
Principal products produced
Energy used, produced and exported | [5 empty] | Energy used, produced and exported Estimate of efficiency and losses of the system.
Quality of product | [5 empty] | Quality of product(s) compared to specification, including reasons for any non-compliance
Power quality | [5 empty] | Power quality compared to initial specifications, including reasons for any deviation. Frequency and voltage stability as well as any application to improve system reliability should be taken into consideration (e.g. reactive power compensation, static transfer switches, energy storage or variable-speed generations)
Raw materials used | [5 empty] | Copy and fill in as many times as needed
Energy used, imported and produced
Estimate of efficiency and losses per input
Questions for further research. Describe also any limitations to the current innovative items or technologies, and how such innovations can be further developed | [5 empty] | Copy and fill in as many times as needed
Project specific technical parameters | [5 empty] | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary.
B GHG emission avoidance (L2)
Absolute GHG emission avoidance
Relative GHG emission avoidance
Per unit of product
Actual absolute GHG emission avoidance
Type(s) of modal(s) used in transportation, frequency and distance | [5 empty] | Methods of transport and distance for key raw materials and products
[EII] Quantities of de minimis and minor inputs
[EII/RES/Energy storage] Hourly profiles for use and feed-in of grid electricity
[EII/Energy storage] Hourly profiles for generation of electricity delivered to the project from PPAs
[EII/Energy storage] Hourly profiles for avoided curtailment based on final physical notifications of co-located RES plants or grid operator instructions.
[CCS] Losses and leakage from CO2 transport and storage | [5 empty] | Losses and leakage from CO2 transport and storage as per standard environmental reporting/ permits (% CO2 transported per annum, or kg per unit output), including: a) Booster stations b) Fugitive emissions (e.g. from seals, valves and intermediate compressor and storage installations)(estimate only) c) Vented emissions (estimate only) d) Leakage events (as a result of component failure) (estimate only) e) Average emission factors (expressed in g CO2 /unit time) per piece of equipment/occurrence where fugitive emissions can be expected (if available)
[RES] Energy generated by hour, based on the actual load factor, and technology efficiency per operating hour
[Bioenergy] Type of bio-based fuel used (refer to annexes V and VI of the RED2). Any pre-treatment(s) of biomass before processing. How is sustainability of biomass ensured?
[Energy storage] Hourly profiles for provided system services
Actual relative GHG emission avoidance (L1)
Actual GHG emissions per unit of product (L1)
Maximum potential absolute GHG emission avoidance | [5 empty] | If the project is scaled up to a full industrial process
Maximum potential relative GHG emission avoidance | [5 empty] | If the project is scaled up to a full industrial process
C Cost and revenues (L1) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet (or add an additional tab to the excel sheet if needed).
C1 Total investment costs to date [€] | [5 empty] | Where project consists of distinct units, sub-installations, please provide the information disaggregated for each major part.
development costs
capital equipment
site infrastructure
construction, installation
commissioning
intangible assets (incl. technology license)
grid / pipeline connection
other | [5 empty] | Specify any other significant costs in separate lines
Deviations | [5 empty] | Explain any deviations and how they have been dealt with.
C2 Operating costs in the previous operative year [€]: | [5 empty] | Break down the costs according to the financial model in the application Where project consists of distinct units, sub-installations, please provide the information disaggregated for each major part.
inputs (raw materials) | [5 empty] | Specify and copy for key inputs (more than 5% of annual OPEX) - raw material costs (including feedstocks, reductants, etc.) - energy costs, split by energy carrier - were applicable, credits from exporting heat, electricity or other energy carriers as well as products other than the final product(s)
operation and maintenance
services | [5 empty] | Specify what is included
staff costs
overheads
waste disposal
local rates and taxes
insurance
other | [5 empty] | Specify any other significant costs in separate lines
Deviations | [5 empty] | Explain any deviations and how they have been dealt with.
C3 Cost per unit of output
Cost per unit of output (CPUP) during IF monitoring period | [5 empty] | Cost per unit of output (CPUP) [€/CO2 avoided]. This should be calculated using the following formula: CPUP = (CAPEX + NPV10years(OPEX))/ total projected amount of GHG emissions avoided in the first ten years
Cost per unit of output (CPUP) over the plant/installation lifetime | [5 empty] | Cost per unit of output (CPUP) [€/CO2 avoided]. This should be calculated using the following formula: CPUP = (CAPEX + NPVXyears(OPEX))/ total projected amount of GHG emissions avoided over the plant/installation lifetime of X years
C4 Revenues | [5 empty] | Describe main revenue streams (principal product and by-products) and average price realized
Revenues main products
Revenues by-products
Avoided costs
Deviations | [5 empty] | Explain any deviations and how they have been dealt with.
D1 Project Management (L1) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods)
D1.1 Lessons learned finance | [5 empty] | Lessons learned and experiences in how to finance, insure and minimise risk for a full project or future projects
Technical documentation | [5 empty] | What types of technical documentation (e.g. feasibility studies, FEED study, implementation plan, risk assessment and mitigation plans, cost estimates and their level of uncertainty, third-party due diligence report) were critical to reaching financial close, entry into operation or ensuring smooth operation respectively? What challenges were encountered, how were they addressed and what learnings relevant for other developers of innovative projects can be extracted from this?
Business plan | [5 empty] | What aspects in the business plan (e.g. market analysis, project management set-up, project implementation schedule, financial analysis) helped reaching financial close, entry into operation or ensuring smooth operation? What challenges were encountered, how were they addressed and what learnings relevant for other developers of innovative projects can be extracted from this? Has the market conditions changed since the application? What was the impact and how did the project deal with it?
Value chain certainty | [5 empty] | How is value chain certainty assessed and handled: both supply and sales – any uncertainties addressed and mitigated? How are availability or scarcity of the key raw materials assessed and handled? List and comment on third party dependencies – e.g. lack of certainty in national infrastructure development plans for deployment or dependence on other parties in the value chain. How are risks of developing stranded assets handled: either temporarily until the rest of the system turns up, or in a worst-case scenario more permanently? List and comment on issues encountered related to transmission and grid connection
Earlier pilots | [5 empty] | What aspects in the earlier technology readiness level pilots or demonstrations have been critical for reaching financial close? What aspects were missing (if any) and caused delays?
Finance | [5 empty] | How is the overall financing of the project composed? Was corporate financing or project financing used? What gearing level of financing has been obtained? Time (expected vs actual) to secure external funding after grant award? What challenges were encountered in relation to securing the funding and how have they been addressed? What are the requirements to debt-service coverage ratio (DSCR) and other possible financial reserve requirements? How have guarantees for the project been established? Where guarantee requirements in relation to decommissioning costs encountered and how were they handled? What type of financial support from Member States or other European Union funds or mechanism were sought, and what are challenges encountered (if any) to achieving financial close? What is the financial return (IRR)/payback for the entire project? Did the contribution of the project to the Green Deal and its alignment with the EU long term objective for climate neutrality help reach financial close? Were the innovative nature of the project an asset or a hindrance in reaching financial close and entry into operation? Lessons learned and experiences in how to finance, insure and minimise financial risks for this type of projects
D1.2 Permits and consents | [5 empty] | List and briefly describe the permits and consents needed, the authorities involved, the documents that the project developer had to provide. Comment whether the permitting went according to plan. How big were the delays if any. Did you have to submit substantial new documentation that was not foreseen initially?
Lessons learned from permitting | [5 empty] | Describe lessons learned and experiences in obtaining planning permission and negotiating legislative considerations (steps, roles, time-frame)
Market and regulatory barriers | [5 empty] | Market and regulatory barriers of relevance to the project and what have you done that helped address current market gaps at the project level (steps, roles, time-frame). e.g. potential issues related to procurement of electricity, connection to the grid, or commercialisation of the product, etc.
D1.3 Project planning issues
Risks and mitigation measures | [5 empty] | Explain, which previously identified risks occurred and whether you employed the foreseen mitigation measures. How do you rate the effectiveness of the mitigation measures
Deviations from key milestones | [5 empty] | Describe any major deviations from planned milestones (more than 2 months). Comment on whether the deviations were due to previously identified risks and whether these risks had a low, medium or high chance of occurring
D1.4 Project management team
Roles and governance model | [5 empty] | Lessons learned and experiences in project management team (roles and governance model)
Social inclusion, gender and race equality | [5 empty] | What the percentage of people working on the project overall and in project management belonging to the following groups: Women, People with disabilities, People with less than 3 years of working experience, People within 3 years of pension, Low-skilled workers, Migrants with less than 3 years in the EU, Ethnic minorities, People who identify themselves as LGBTQ What practices has the project employed to promote social inclusion, gender and race equality and/or address other diversity matters?
D1.5 Stakeholder engagement, including public communication strategies
Communication objectives | [5 empty] | Describe what were your communications objectives, communications plan and methods of communication used. Have they been reached?
Target groups selected and number of stakeholders reached
Methods of communication
Timing/frequency of stakeholder engagement
Challenges faced and lessons learned
Changes | [5 empty] | Explain any substantial changes in any of the lines above and how they have been dealt with.
D2 Project Management (L2)
D2.1 Aggregated information | [5 empty] | Aggregated information on good practices in the above areas
Finance | [5 empty] | Challenges encountered in relation to securing of project’s funding and how have they been addressed? What type of financial support from Member States or other European Union funds or mechanism were sought, and what were challenges encountered (if any) to achieving financial close? Lessons learned and experiences in how to finance, insure and minimise financial risks for this type of projects
E Environmental Impact (L2) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | For each line explain how have the different environmental impacts been minimised? What equipment / technique have been used? What could have been done even better?
Visual impact on landscape | [5 empty] | Visual impact on the landscape and associated issues, including installation of additional overhead cables
Cultural heritage | [5 empty] | Impact on cultural heritage
Communication networks | [5 empty] | Impact on communication networks
Connecting to the national grid | [5 empty] | Impact on connecting to the national grid using under/over ground cables
Nature and biodiversity | [5 empty] | Impact on designated ecological and environmental receptors
Geology, aquifers and water sources | [5 empty] | Impact on geology, aquifers and water sources
Emissions to the environment | [5 empty] | Emissions to the environment (gaseous and liquid) in both undisturbed and disturbed operation.
Raw materials (primary and secondary) | [5 empty] | What is done to minimise raw material use, facilitate reuse, repurposing and recycling?
Land requirements | [5 empty] | Land requirements for the installation and infrastructure (m2 or m3)
Waste and circularity | [5 empty] | Will the project result in substantial waste production or hazardous waste? What project development should take place to avoid, manage or minimise waste?
Soil | [5 empty] | Impacts on soil, e.g. organic matter, erosion, compaction, sealing
Climate change adaptation | [5 empty] | Impacts related to climate change adaptation/vulnerability/resilience of the project due to climate change.
Other environmental impacts | [5 empty] | Other significant environmental impacts
Questions for further research | [5 empty] | Questions for further research
Deviations | [5 empty] | Explain any deviations in the lines above.
F Health and Safety (L2) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods)
E.1 Health and safety design details | [5 empty] | Describe the main systems and techniques that ensure healthy and safety in the plant
E.2 Monitoring systems to track safety | [5 empty] | Description of monitoring and resolution systems to track safety
E.3 Safety incidents
a) location
b) output
c) impact
d) environmental emissions (air, water, land)
e) cause of incident
f) corrective measures taken
g) key lessons learned
Number of incidents | [5 empty] | Number of incidents per hour operated
E.4 Health issues | [5 empty] | Health issues in regular/undisturbed operation compared to the levels before project implementation, if applicable, or to the levels recommended in European Regulations (e.g. REACH). Please comment on (where relevant):
a) hazardous substances or situations and their potential impacts
b) exposure values related to relevant chemical agents at work
c) exposure to carcinogens or mutagens at work
d) exposure to physical hazards at work such as noise and vibration
e) possible health and safety risks to inhabitants close to the installation
f) other
E.5 Near misses
a) location
b) output
c) cause
d) measures taken
e) key lessons learned
Number of near misses | [5 empty] | Number of near misses per hour operated
G. Declaration for dissemination (L1 and L2)

## EII
Energy intensive industries | DRAFT |  |  |  |  | Fill in the fields relevant to your project. If not relevant, mark as n/a and explain why.
| At application | Agreed at grant award | After financial close | After entry into operation | Annual period 1 (copy for next periods) | If no change, please mark same as previous period
A1 Technical Set-up and Performance (L1) | [5 empty] | Please provide all data that is quantitative also in separate clearly marked tabs
A1.1 Technical description
Overview of the industrial plant and associated infrastructure
Block-flow diagram of the system | [5 empty] | If there are deviations from the initial diagram, add a line and explain why.
Summary of the design
Innovative aspects of the project
A1.1.1 Summary of the technology deployed and plant description | [5 empty] | Describe the overall plant requirements, including:
List all intermediary and principal products of the project
The production capacity achieved (in tonnes of principal product(s) per annum) | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
NACE2 codes of the products related to the main activity of the plant
The energy demand per tonne of principal product(s) | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
The feedstock/reductant demand (if applicable) per tonne of principal product(s) | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
The raw material requirements per unit of principal product(s) | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
If this project is a sub process or retrofit of an existing process, provide separately the above information respectively also for the total process or for the process pre-retrofit
A1.1.2 Carbon capture and storage/utilisation | [5 empty] | If the project includes carbon capture, an overview of the system, including:
Overview of CO2 capture | [5 empty] | Please see example in the CCS tab and adapt to the specific capture installationof your project
Design and system layout
Energy and non-energy requirements (including any heat recovery) and origin of energy, internal or imported
Amount of CO2 captured, in tonnes and as a percentage of the regular plant's emissions
Composition of the flue gas captured
Composition of the CO2 stream after purification
Overview of CO2 transport | [5 empty] | Please fill in also the respective sections in the CCS tab if the project includes the transport element
The infrastructure requirements to transport the CO2 (existing or new)
Overview of CO2 storage | [5 empty] | Please fill in also the respective sections in the CCS tab if the project includes the storage element
The geographic location of the potential storage site
Type of geological formation
The amount of CO2 to be stored per year
Overview of CO2 utilisation
Design and operation of the CO2 utilisation process
Amount of CO2 utilised in the process (per year and per unit of final product)
Capacity and Amount produced of the final product utilising CO2
Share of CO2 utilised from a regular plant's emissions
A1.1.3 Hydrogen production and use
Overview of hydrogen demand | [5 empty] | If hydrogen use falls within the scope of the project, describe:
The purpose of usage of hydrogen (e.g. feedstock, fuel, reductant, etc.)
The amount of hydrogen used (total per year and per unit of final product)
If hydrogen use is substituting an existing process, describe the type and amount of the original fuel, feedstock, reductant or other product being substituted
Overview of hydrogen production
The annual monthly amount of hydrogen self-consumed, bought or sold
If hydrogen production is within the scope of the project, provide an overview of the production system, including design and operation of the hydrogen production system; energy and non-energy requirements | [5 empty] | Please fill in separate tab on Hydrogen
If hydrogen use is produced externally (bought or imported), provide an overview of the hydrogen transport and storage, including:
Source of the hydrogen, including the production method
Energy intensity
CO2 emissions per unit of hydrogen
The hydrogen transport infrastructure (e.g. pipelines, shipping, vehicles) including the type of transport (e.g. compressed gas, cryogenic liquid, natural gas blending) and the temperature, pressures or blending percentage as applicable.
A1.3 Energy and materials demand
A1.3.1 Summary of energy demand | [5 empty] | An overview of energy demand, including:
Energy and mass balances of the system
If electricity is produced in-situ, an overview of the power plant (technologies involved e.g. steam generator, gas turbine, etc.), including design performance, thermal and electrical capacity, average load factor of the in-situ power plant | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
A breakdown of the specific energy consumption according to the types of energy carriers used (including at least electricity, natural gas, solid fossil fuels, biofuels, waste gases and heat) | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
If the project entails biomass use (for energy, feedstock or other purposes), describe the amount of biomass used (total and per unit of final product), the achieved integration of biomass (in % of total energy input), the maximum theoretical biomass use and any specific characteristics the biomass requires (e.g. minimum energy density, composition, etc.) | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
If this project is a sub process or retrofit of an existing process, provide separately the above information respectively also for the total process or for the process pre-retrofit
A1.3.3 Summary of imports and exports of heat, electricity and other energy carriers
Where applicable, describe the amount (per year) of heat, electricity and/or other energy carriers imported and/or exported | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
A1.3.4 Summary of materials demand | [5 empty] | Description of the materials demand of the plant, including
Raw material requirements, listing all raw materials used in the process (including total amounts per year and per tonne of final product) | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
Describe all key non-energy feedstocks (including reducing agents, fluxing agents, catalysers) | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
Type of waste used, previous destination of the waste, quality, method of collection, sorting and pre-treatment
- If this project is a sub process or retrofit of an existing process, provide separately the above information respectively also for the total process or for the process pre-retrofit
A1.1.3 Summary of waste-streams and by-products
Identify the types and amounts of by-products and waste streams that can be used | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
If applicable, provide the emission profiles to air and water | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
If applicable, provide the amount and composition of any off-gases, and any capture and reuse processes. | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
If applicable, provide the amount and temperature range of waste-heat from the plant, and any reuse and/or upgrade processes | [5 empty] | If there are deviations from the anticipated values, add a line and explain why.
If this project is a sub process or retrofit of an existing process, provide separately the above information respectively also for the total process or for the process pre-retrofit
Project specific technical parameters | [5 empty] | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary under any of the headings above
Deviations | [5 empty] | Comment on any deviations from the previous reporting period phase and reasons therefore. Include a separate line under each parameter where deviations occurred

## Hydrogen
Hydrogen | DRAFT |  |  |  |  | Fill in the fields relevant to your project. If not relevant, mark as n/a and explain why.
Please provide all data that is quantitative also in separate clearly marked tabs
A1 Technical Set-up and Performance (L1) | At application | Agreed at grant award | After financial close | After entry into operation | Annual period 1 (copy for next periods) | If no change, please mark same as previous period
A1.1 Hydrogen production technology | [5 empty] | Description of the hydrogen production plant, including detailed description of :
Primary energy source(s) | [5 empty] | wind, solar (solar thermal and solar photovoltaic) and geothermal energy, ambient energy, tide, wave and other ocean energy, hydropower, biomass, landfill gas, sewage treatment plant gas, and biogas; natural gas, oil, coal
Secondary energy source(s) | [5 empty] | electricity, bio-methane, biogas, ethanol, vegetable oils
Conversion technology | [5 empty] | Water electrolysis (Alkaline electrolysis; Proton Exchange membrane electrolysis; Solid oxide electrolysis cells Biomass-derived liquid reforming Biomass gasification Thermochemical water splitting Photoelectrochemical water splitting Photobiological processes Microbial biomass conversion Fossil fuel (+CCS if any): (Coal gasification; NG Reforming: Steam reforming; Autothermal reforming; Other advanced reforming technologies)
Summary of design | [5 empty] | Example is given with an electrolyser, please adapt if using different technology: * technology employed (e.g.: PEM-electrolysis, Alkaline electrolysis, Solid Oxide electrolysis, etc.) * manufacturer, * size of the smallest module present (power), * total power capacity installed (power), * system footprint (m2), including necessary BoP * cell area, * balance of plant equipment: description of the balance of plant components installed and their respective capacity (e.g.: converters, dehumidification components, compressors, water purification system, etc.). * maximum hydrogen production capacity (kgH2/h), * minimum hydrogen production capacity (kgH2/h), * water consumption per kgH2 produced, * for Solid Oxide electrolysers provide the heat absorption of the system at nominal capacity (mostly provided by steam). * cold start ramp expressed in s: Time required to reach nominal capacity in terms of hydrogen production rate when starting the device from hot idle (warm standby mode - system already at operating temperature and pressure), * current density expressed as A/cm2. Mean current density of the electrolysis cell running at operating temperature and pressure and nominal hydrogen production rate of the stack, * total content of iridium expressed as mg-IrO2/cm2 for cell area (or g/W output). * total content of platinum expressed as mg-Pt/cm2 for cell area (or g/W output) * hydrogen output pressure, * hydrogen output purity,
Intermediary products (if any) | [5 empty] | e.g. syngas
Final products | [5 empty] | Hydrogen, synthetic hydrocarbons (gasoline, diesel, jet fuel equivalent), ammonia, methanol, methane, liquid organic hydrogen carriers)
Carbon capture, utilisation and/or storage | [5 empty] | Please fill in respective section in EII tab
End use sector | [5 empty] | Power: supply of electricity to the electricity grid with a gas turbine of fuel cell Grid injection: injection in natural gas or pure hydrogen grids (blending rate (on volume)) Mobility: Used vehicles (road, off-road, rail, maritime or aviation) Industrial heat: applications such as refineries, steel plants or high temperature heatH2 CHP CHP: Heat and power via CHPs, for example in fuel cells or turbines Domestic heat: direct use in building for water and space heating Chemicals: Production of (intermediate) chemicals, such as methanol, ammonia (for fertiliser or chemical products) or final chemical products
A1.2 Hydrogen transport and distribution
A summary of the hydrogen transport and distribution | [5 empty] | * Compressed gas cylinders or cryogenic liquid tankers, including detailed description of: - Type of transport (lorry, ship, rail) - Volume of gas or liquid transported - Pressure and temperature conditions - Container material - Maximum distance from origin to destination * Pipelines, including detailed description of: - Geographical scope - Pressure and temperature working conditions - Pipeline material - Pipeline dimensions (external diameter, internal diameter, length) - Pipeline characteristics including installation * Blending with natural gas, including detailed description of: - % of hydrogen injection (%vol) - Pressure and temperature working conditions - Separation and purification technologies downstream to extract hydrogen from the natural gas blend close to the point of end use - Quality requirements - Safety conditions
A1.3 Resource and Energy Yield Assessment
Resource assessment | [5 empty] | Monthly hydrogen production versus total project capacity;
Energy performance | [5 empty] | Actual energy performance plot/curve displaying voltage and current * nominal total system (electrolyser + balance of plant) efficiency of hydrogen generation expressed as kWh/kgH2. * nominal stack efficiency of hydrogen generation expressed as kWh/kgH2.
Degradation | [5 empty] | Degradation expressed as %/1000h of operation. (Note, for LT electrolysers defined as the percentage efficiency loss when run at nominal capacity; for SOEL defined as “Production Loss” in percent loss of production-rate at thermo-neutral conditions and constant efficiency.)
Explain any deviations from the expected performance and any remedial alterations made to the design or operation.
Project specific technical parameters | [5 empty] | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary under any of the headings above
Deviations | [5 empty] | Comment on any deviations from the previous reporting period phase and reasons therefore. Include a separate line under each parameter where deviations occurred

## CCS
Carbon capture and storage | DRAFT | Fill in the fields relevant to your project. If not relevant, mark as n/a and explain why.
Please provide all data that is quantitative also in separate clearly marked tabs
A1 Technical Set-up and Performance (L1) |  | If no change, please mark same as previous period
A1.1.1 Technical description
Summary of the design, including an outline of any novel technology installed, including (but not limited to): (the example is built on oxyfuel combustion, adapt as needed) a) air separation plant b) oxy firing plant including recirculation duct and flue gas clean-up equipment c) steam cycle design d) fuels used (i.e. coal, biomass or fuel-oil) e) heat and/or power integration within the oxy power plant f) deviations from the expected performance and any remedial alterations made to the design or operation g) equipment used in CO2 monitoring, reporting and verification, as well as details on the achieved accuracy h) gaseous emissions to air during CCS mode operation, CCS process outlet other than CO2 product
A1.1.2. Compression and Conditioning Units (including Dehydration)
Overview of CO2 compression and conditioning units |  | Description of the CO2 compression and conditioning units, including an outline of any novel technology installed and including: a) compressor type b) compressor capacity c) power requirements d) pump/compressor inlet and outlet temperature and pressure e) water removal
CO2 stream specifications |  | CO2 stream specifications before entering the pipeline (and based on CO2 metering equipment location), including: a) water content b) phase and purity of the CO2 stream to be stored c) any deviations from the expected performance d) any remedial alterations made to the design or operation
CO2 metering equipment |  | Description of the CO2 metering equipment used for all phases of the project, its location and the accuracy achieved, including deviations from the expected performance and any remedial alterations made to the design or operation
CO2 capture ratio |  | Capture ratio, in tonnes CO2e emitted / tonne CO2 transferred to the capture installation.
A1.1.3 Heat & Mass Balance
Heat & Mass Balance overview |  | The heat and mass, energy, water and carbon balances should be provided for block flow diagrams of the actual oxy power plant, indicating the main process streams for maximum / rated CO2 flow rate, as per the descriptions below
Description of the heat and mass balance for the oxy power plant indicating fuel, oxygen and limestone inputs, flue gas flows from the Boiler and through the Air Quality Control System, flue gas recycle, vent stack flow, CO2 product and ash and gypsum by-products
A separate heat and mass balance for the oxy power plant indicating water and steam to and from the Boiler (including hot reheat conditions),the Boiler Feed Water preheat system and the Condenser
An energy balance for the oxy power plant indicating the energy content of the fuel input, net power output, CO2 product and losses, including those from the Cooling Water System and vent stack
A summary of the overall carbon balance of the oxy power plant indicating carbon contained in the input fuel, CO2 product, fly ash, bottom ash and flue gas vent
A summary of the oxy power plant water balance, indicating raw water in, main users, cooling system losses and waste water flow
For each stream number identified on the heat and mass block flow diagrams, the following information is expected: a) fluid description b) composition of main components c) mass and / or volumetric flow rate d) phase e) temperature f) pressure
By-product streams |  | A statement identifying the amount and nature of by-product streams from the CO2 capture plant, including composition and flowrate.
Describe the appropriate handling and disposal provisions that have been implemented.
A1.1.4 Transport (pipelines)
Pipeline infrastructure |  | A summary of the pipeline infrastructure installed, including: - export system components - onshore/offshore pipeline - platform - risers - flow-lines - trees and wells
Pipeline characteristics |  | The installed pipeline length, diameter, wall thickness, material and corrosion allowances (internal and external), including any deviations from the Project Proposal and a justification thereof
Pipeline range |  | The actual range of CO2 flowrate, temperature and pressure at the inlet and outlet of the pipeline (minimum/maximum over the year), including deviations from the expected range and any remedial alterations made to the design or operation
Deviations |  | Deviations from the proposed pipeline flow capacity, maximum operating pressures and pipeline overpressure protection
Provisions for geotechnical and/or seismic conditions |  | Provisions made for anticipated or experienced geotechnical and/or seismic conditions
Transport ratio |  | Transport by pipeline ratio, in tonnes CO2e / tonne CO2 transferred to the capture installation
A1.1.5 Transport (shipping, truck, rail)
Shipping, truck, rail solution |  | A summary of the transport solution deployed, including; - logistics, e.g. number of ships, trucks, wagons - speed - loading frequency - distance to travel - capacity - redundancy - maintenance and downtime
Operational constraints |  | A comment on any operational constraints experienced, e.g. through weather events, or with regards to mooring and offloading structures in case of shipping
Operational complexities |  | A comment on any operational complexities. For example, for ships: in maintaining seaworthiness certificates for all ships, and in assigning the appropriate class rules or standards for the ships
Weight fraction |  | Weight fraction of the truck, train wagon or ship occupied by the compressed CO2 and, separately, the empty tank (i.e. fully or partially loaded), per trip and modal.
A1.1.6 Storage Installation
Storage installation overview |  | A summary of the storage installation deployed including: a) import riser and flow-line arrangements b) water depth c) description of the process facilities located on offshore installation (e.g. heaters, storage) d) the structural and foundation configuration e) a description of the utilities both supplied to and located at the storage installation Include any deviations from the Project Proposal and a justification thereof
Injection ratio |  | Injection ratio, in tonnes CO2e emitted / tonne
A1.1.7 Well Design
Wells overview |  | A summary of the number and type of wells (injection, monitor or appraisal) drilled, the performance efficiency of the wells and the monitoring conducted at the wells
Downtimes |  | Experienced planned or unplanned downtimes, and any necessary venting CO2 at the storage site as a consequence of such events.
A1.1.8 Enhanced Hydrocarbon Recovery (EHR)
Production facility |  | Description of the production facilities installed for EHR, including: a) a process overview of the EHR facilities at the production site b) the actual product specification including water content, phase and purity of the recycled CO2 stream c) the CO2 metering and accuracy achieved d) an overview of the production wells used e) the share of additional hydrocarbon recovered
A1.1.9 Overview of utility requirements
Steam consumption |  | The actual steam consumption by the CCS chain including details of the extraction point. If steam is to be provided from sources other than the Plant, please provide details
Low grade heat recovery |  | A description of the arrangements to facilitate low grade heat recovery from the CCS chain as well as from the ASU or CO2 compression plants with the water/stream cycle or for other uses. If low grade heat recovery does not take place, please justify
A2 Technical Set-up and Performance (L2)
A2.1 Performance of oxy power plant and impacts of changes |  | Average monthly performance of oxy power plant plus impacts of any changes to operating conditions, including part load, start-up and shut-down. Include : a) Number of hours operated in total b) Number of hours operated oxy-combustion mode c) Number of hours operated in oxy-combustion mode with capture d) Total amount of CO2 generated by the power plant e) Flue gas diverted to capture plant (%) f) Total amount of CO2 captured g) CO2 captured (t/MWh (net)) h) Heat/steam and power demand by the oxy power plant i) Heat/steam and power demand by CO2 transport j) Heat/steam and power demand by storage Data to be provided in a table format
A2.2 Load capture rate |  | Full load capture rate (%). If plant has not been operated at full load, please provide estimate based on partial load data
A2.3 Performance of compressor and impacts |  | Average monthly performance of the CO2 compressor, over time, CO2 pressure plus impacts of any changes to operating conditions (MWh/tCO2 compressed)
A2.4 Flow rates for transport and storage |  | Average and maximum monthly flow rates for transport and storage (kg per second)
A2.5 Monthly availability and hours operated |  | Average monthly availability (%) and hours operated of each step in value chain (i.e. capture, transport and storage)
A2.6 Start-up and shut-down time and losses |  | Start-up and shut-down time and losses of the oxy power plant
A2.7 Efficiency |  | Process efficiency (%, Lower Heating Value)
A2.8 Electricity produced |  | Electricity produced (MWh)
A2.9 CO2 captured and stored annually |  | CO2 captured and stored annually (tCO2) : 1. CO2 captured in capture plant 2. Captured CO2 arriving at CO2 injection site (with reference to D.8) 3. Total CO2 stored CO2 stored is CO2 injected for the purpose of storage in accordance with the requirements of Directive 2009/31/EC.
A2.10 Composition of the CO2 stream |  | Composition of the CO2 stream into the pipeline (composition will be that agreed for injection into the pipeline with the pipeline operator)
A2.11 Impacts |  | Impact of key impurities on transport and/or storage performance
A2.12 Questions for further research |  | Questions for further research. Describe also any limitations to the current innovative items or technologies, and how such innovations can be further developed
CCS Storage Site Performance (L1)
1.1 Geology of the storage site and storage complex |  | A description of the geology of the storage site and storage complex
1.2 Rate of injectivity |  | Comment on the rate of injectivity at the site, including deviations from the anticipated rate or significant changes from historic injectivity rates
1.3 Monitoring plan overview |  | Outline the monitoring plan used to determine site performance, with reference to Annex II(1) ‘Establishing and updating the monitoring plan’ of Directive 2009/31/EC. Any major deviations from the monitoring plan from the Project Proposal should be highlighted. Include: a) baseline monitoring b) monitoring technology employed and justification for technology choice c) monitoring locations and spatial sampling rationale d) frequency of application and temporal sampling rationale e) deviations and lessons learned with focus on wellhead pressure, temperature, flow and composition; inert and isotope tracers; casing annulus pressures and temperatures; reflection seismic (including, if applicable, 2-D and 3-D seismic) f) updates to the monitoring plan, where applicable
1.4 Models and simulations |  | An overview of the models and simulations used to predict and verify the development of the CO2 plume and pressure front (approach and output)
1.5 Deviations |  | Deviations from the understood storage capacity and security of the site including: a) conformity of the actual behavior of the injected CO2 with the modeled behavior and any required adjustments to the model (decision: normal within a deviation range or significant irregularity that needs action) b) behaviour of displaced brine through CO2 injection Data collection shall be based on the monitoring established under the CO2 storage permit.
CCS Storage Site Performance (L2)
2.1 Geology impacts |  | Impact on geology (e.g. reaction with rock and cap rock integrity due to pressure levels).
A summary of the Environmental Monitoring report, which will include results from soil and water samples from multiple locations.
2.2 CO2 migration |  | CO2 migration (freshwater contamination or soil acidity)
Project specific technical parameters |  | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary under any of the headings above
Deviations |  | Comment on any deviations from the previous reporting period phase and reasons therefore. Include a separate line under each parameter where deviations occurred

## Wind
Wind energy | DRAFT |  |  |  |  | Fill in the fields relevant to your project. If not relevant, mark as n/a and explain why.
Please provide all data that is quantitative also in separate clearly marked tabs
A1 Technical Set-up and Performance (L1) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | If no change, please mark same as previous period
A1.1.1 Turbine technology
A1.1.2 Summary of wind turbine design | [5 empty] | A summary of the wind turbine design, including detailed description of * turbine blades, * hub, * drive train and housing/nacelle, * generator, * tower, * foundation, * connections * electrical conversion plant (transformer, converters etc.) contained within turbine
Foundations: * technical description of the wind turbine structural foundation solution(s), including transition piece where applicable, including design basis, dimensions, tolerances, corrosion protection and other relevant aspects. Comment on any deviations from the design phase and reasons therefore. * details of ‘J tubes’ or alternative method for connecting inter-array export cables to foundation * description of the monthly average site conditions experienced during the implementation of the project, including (wave and wind) * details of method used for connecting inter-array export cables between the seabed and foundation/turbine * average water depth and distance from shore
Grid integration equipment: * a summary of any substation used (either onshore or offshore, if applicable), including locations, plant (including layout of equipment and other facilities within the substation) and access arrangements. Include any remedial alterations made to the design or operation due to unanticipated performance * details for the foundation solution of the offshore substation * description of the substation services (if applicable), e.g. for power generation, as well as their electrical equipment, e.g. reactive compensation, switchgear, transformers, power conversion and others. Comment on compliance measures with relevant legislation and design standards * cabling used (both inter-array and power export ones), including their technical details (e.g. AC/DC transmission, materials used, dimensions, corrosion protection, voltages used, cable rating and other relevant parameters), ground conditions along the cable route, cable laying technology and details of connection to turbines and substation. Include deviations from the expected performance and any remedial alterations made to the design or operation * details of redundancy in system and control measures to be taken during unavailability of power export system
Areas of the power plant which have deviated from the proposed design, and reasons therefore
A1.2 Details of turbine installation process | [5 empty] | Details of turbine installation process undertaken, including * installation technologies used, * types of vessels and their contribution (if applicable), * weather risks, * methods and tools used to overcome terrain complexity (for onshore projects), * necessary shore-side facilities (for offshore projects). Furthermore, provide a description of the final structure / layout of the wind farm.
A1.3 Resource and Energy Yield Assessment
A1.3.1 Energy performance | [5 empty] | Actual energy performance plot/curve displaying * monthly average electricity production over the previous operative year * total yearly generation versus total project capacity. Include deviations from the expected performance and any remedial alterations made to the design or operation. Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet. This particularly concerns the monthly electricity production over the previous operative year and the total yearly generation versus total project capacity.
A1.3.2 Accuracy of energy yield assessment | [5 empty] | Based on the performance of the Project, comment on the accuracy of the energy yield assessment used to complete the Project Proposal. Include an appraisal of the techniques used for data collection to monitor site wind conditions and the accuracy of wind flow/wake loss modelling. Please provide all data presented in this section (figures, screenshots) also as numerical data in the respective section of the accompanying excel sheet. This particularly concerns the monthly average wind speeds and the planned wind speed.
A1.3.3 Final weight to power and lifetime capacity | [5 empty] | Please provide the lifetime capacity factor calculated as follows: (Electricity generation_year1+…Year_n)/(Installed capacity*(Lifetime_1_n))
A1.3.4 Extreme wind speeds and turbulence characteristics | [5 empty] | Describe the observed extreme wind speeds and turbulence characteristics at the site, and any necessary alterations made to the wind turbine.
Project specific technical parameters | [5 empty] | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary under any of the headings above
Deviations | [5 empty] | Comment on any deviations from the previous reporting period phase and reasons therefore. Include a separate line under each parameter where deviations occurred

## BIO
Bioenergy | DRAFT |  |  |  |  | Fill in the fields relevant to your project. If not relevant, mark as n/a and explain why.
Please provide all data that is quantitative also in separate clearly marked tabs
A1 Technical Set-up and Performance (L1) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | If no change, please mark same as previous period
A1.1.1 Summary of the technology deployed | [5 empty] | Overall power plant requirements, including: - any supplementary fuels used and the amount of energy such fuels provide the plant in relation to plant output per annum. - the power requirements of the plant and the impact on net electricity generation per annum. - the heating/cooling demands of the plant per annum, and how these demands are met. - the water demands of the plant per annum and how they are met
Waste handling procedure. Describe the types and amounts of by-products and waste stream from the plant in the last operative year. Describe the handling and disposal provisions used at the plant. if applicable, provide the emission profiles to air and water, including any deviations from anticipated values
Block flow diagram for the Project including all biomass handling, pyrolysis and post-pyrolysis processes
Actual heat and mass balance for the block flow diagram for intended flows at normal operating output For each stream number identified on the block flow diagram, the following information is expected: - fluid description; - mass and / or volumetric flow rate; - phase; - temperature; - pressure
List of any existing assets used in the project
Biomass handling and availability, including: - a characterisation of the feedstock. If new energy crop please provide full agronomic characterisation and adaptation studies/breeding program - sourcing areas, rotation (if applicable), expected crop/forest productivity, chain of custody and certification schemes (if applicable) - an assessment of the total market demand of such feedstock, including a description of alternative uses outside of the bioenergy sector - logistics of collection, storage and transport of feedstock (including on-site pre-treatment and densification) - transfer equipment including capacity and redundancy - biomass treatment including drying or size reduction - specifications for biomass both on reception and after treatment
A1.1.2 Pyrolysis (where applicable)
Overview of pyrolysis process | [5 empty] | An overview of the pyrolysis process, including: a) Reactor design and operating principles b) Separation of product streams c) Composition of product streams d) Energy requirements and origin of energy, internal or imported
Overview of processing of streams from pyrolysis | [5 empty] | An overview of the processing of the solid, liquid and gas streams from the pyrolysis stage, including: a) Design and operating principles b) Key unit operations and contaminants to be removed c) Gas composition before and after each operation d) Energy and services requirements
A1.1.3 Torrefaction (where applicable)
Overview of torrefaction process | [5 empty] | An overview of the torrefaction process including: a) Reactor design and operating principles. b) Energy requirements and origin of energy, internal or imported c) Composition of product from torrefaction. d) Composition of volatile gas stream produced.
Overview of processing of volatiles | [5 empty] | An overview of the processing and re-use of the volatiles produced during the torrefaction process
Overview of processes to treat product | [5 empty] | An overview of any processes used to treat the product after torrefaction (e.g. densification or compaction) including: a) Design and operating principles b) Key unit operations c) Energy and services requirements d) Specification of final product
A1.1.4 Gasification (where applicable)
Overview of gasification unit | [5 empty] | Overview of the gasification unit including: a) Gasifier design and operating principles. b) Provision of air/oxygen/steam for gasification. c) Gas composition produced. d) Energy and services requirements (including any heat recovery) and origin of energy, internal or imported e) Char handling and recycle. f) Processes for handling residues and ashes
Overview of gas cleaning/methanation units | [5 empty] | An overview of the gas cleaning and/or methanation units including: a) Design and operating principles of gas cleaning unit operations and contaminants to be removed. b) Design and operating principles of methanation unit operation (if applicable). c) Gas composition before and after each operation.
A1.1.5 Gas to liquid conversion (where applicable)
Overview of gas-to-liquid converter | [5 empty] | An overview of the gas-to-liquid converter including: a) Design and operating principles b) Key unit operations c) Energy and services requirements and origin of energy, internal or imported d) Average output liquid composition per month e) Processes for handling residues and ashes
Overview of liquid treatment | [5 empty] | An overview of the raw liquid treatment processes to produce the final product, including: a) Design and operating principles b) Key unit operations c) Average output liquid composition per month d) By-product streams
A1.1.6 Power generation (where applicable)
Overview of power plant | [5 empty] | An overview of the power plant including: a) Design performance, capacity with respect to power and heat output and availability of the power plant. b) Turbine or engine, including specific design features to use the syngas or liquid produced by the plant. c) Generator and electrical systems. d) Substation and grid connection. e) Processes for handling residues and ashes
A1.1.7 Hydrolysis (where applicable)
Overview of pre-treatment | [5 empty] | An overview of any chemical or physical pre-treatment of the feedstock prior to hydrolysis of the cellulose including: a) Design and operating principles b) Key unit operations c) Raw material requirements d) Energy and services requirements including any heat recovery e) Characterisation of any by-product streams and their use/commercialisation f) Processes for handling residues
Overview of hydrolysis process | [5 empty] | An overview of the process proposed for hydrolysis of the cellulose including: a) Design and operating principles b) Key unit operations and contaminants to be removed c) Hydrolysis characterisation (e.g. enzymes, targeted use rates, conversion efficiencies) d) Raw material requirements e) Energy and services requirements f) Characterisation of any by-product streams and their use/commercialisation g) Processes for handling residues
Overview of process for alcohol production | [5 empty] | An overview of the process proposed for production of alcohol from the hydrolysed cellulose (e.g. by fermentation) including: a) Design and operating principles b) Key unit operations c) Micro-organisms involved and their characteristics and any confinement needs/strategies d) Raw material requirements e) Energy and services requirements f) Expected output liquid composition
Overview of process for final product alcohol production | [5 empty] | An overview of the process proposed to produce final product alcohol including: a) Design and operating principles b) Key unit operations c) Expected output liquid composition d) By-product streams e) Raw material requirements f) Energy and services requirements
Energy balance | [5 empty] | Provide energy balance of whole process chain involved for steps A1.8.1, A1.8.2, A1.8.3 and A1.8.4
A1.1.8 Algal or micro-organism biomass production, extraction and processing (where applicable)
Overview of growth | [5 empty] | An overview of how the algae and/or micro-organisms is grown including: a) Species and strain of algae / micro-organisms to be used b) Growth medium and conditions c) Growth vessels to be used (e.g. tanks, tube-banks, ponds etc.) and their capacity d) Transfer and mixing equipment to be used e) Growth rate assumptions f) Assumptions on local climatic conditions and how these will influence growth g) Nutrient, gas and water requirements and how these will be supplied h) Composition of growth medium at point of extraction i) Operational approach (e.g. continuous, batch etc.) j) Approach to shut-down/re-start (e.g. in the event of contamination of the growth medium)
Overview of biomass separation | [5 empty] | An overview of how the biomass will be separated from the growth medium, and how the product will be extracted from the biomass including: a) Design and operating principles b) Key unit operations c) Raw material requirements d) Energy and services requirements e) Composition of product and by-product stream(s)
Overview of conversion process | [5 empty] | An overview of the process proposed for conversion of the raw product from the extraction stage to final product including: d) Design and operating principles e) Key unit operations and contaminants to be removed f) Raw material requirements g) Energy and services requirements h) Composition of the final product stream
Energy balance | [5 empty] | Provide energy balance of whole process chain involved for steps A1.9.1, A1.9.2 and A1.9.3
A1.1.9 Biological feedstock processing to biogas, biofuel or bioliquid product (where applicable)
Overview of conversion processes | [5 empty] | An overview of the chemical and biological processes to be used to convert the feedstock into biogas, biofuel or bioliquid including: a) Design and operating principles b) Key unit operations c) Raw material requirements d) Energy and services requirements including any heat recovery e) Specification of raw product stream including additives like enzymes, etc. f) Characterise by product streams and their use/compliance with national standards/regulations for commercial use
Overview of production of final products | [5 empty] | An overview of the processes proposed to produce final product(s) including: a) Design and operating principles b) Key unit operations to produce the defined final product c) Gas composition before and after each operation d) Energy and services requirements (include energy balance) e) Specification of final product stream(s)
Project specific technical parameters | [5 empty] | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary under any of the headings above
Deviations | [5 empty] | Comment on any deviations from the previous reporting period phase and reasons therefore. Include a separate line under each parameter where deviations occurred

## GEO
Geothermal energy | DRAFT |  |  |  |  | Fill in the fields relevant to your project. If not relevant, mark as n/a and explain why.
Please provide all data that is quantitative also in separate clearly marked tabs
A1 Technical Set-up and Performance (L1) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | If no change, please mark same as previous period
A1.2 Summary of technology | [5 empty] | Please describe: - fluids and heat transfer components including pumping and heat exchange equipment and control and instrumentation systems
Overview of the electricity generation plant including: • thermodynamic cycle and working fluid used • details of turbine(s) and electric generator(s) used • cooling system • design performance, efficiency and capacity factor of the power plant • plant management, grid interface and distribution of power • temperature and pressure details along the thermodynamic cycle • if applicable, details of heat recovery in the condenser
If the project provides heat for customers, describe how this is done, including: • Detailed description of the heat demand to be covered (capacity, input and output temperatures, daily and annual demand curves) • details of the heat extraction and recovery system of the plant • details of the cooling system • heat transfer fluid and conditions for export and return • impact on the electrical performance of the plant (e.g. what is the heat-power ratio of the plant)
Overview of the power plant requirements, including: • electricity, and the impact on net output from the Project • water required for injection make-up • water required for other purposes • a description should be provided as to how water supplies are secured and the infrastructure put in place to provide them • any fuels used
Types and amounts of by-products and waste stream from the plant in the last operative year Handling and disposal provisions used at the plant. If applicable, provide the emission profiles to air and water, including any deviations from anticipated values
Block flow diagram for the project including: • geothermal fluid circuit • make-up water • heat exchange • power generation • heat extraction and recovery
List of any existing assets used in the project
A1.3 Resource characterisation and reservoir
Overview of site geology | [5 empty] | Overview of the site geology (only for the first year of project implementation) including: a) structure b) stratigraphy c) lithology d) reservoir properties (including depth-temperature relation, water availability, etc.) e) relevant properties of the surrounding strata and specify how this could affect the project on the long term f) relevant hydrogeological, geochemical, geotechnical and thermal properties g) Specify surrounding existing and potential projects and their possible influence on the long term performance of this installation
Performance description | [5 empty] | Description of the performance of the reservoir. Include any remedial alterations made to the design or operation due to unanticipated performance. Specify why such unanticipated performance occurs
Methods description | [5 empty] | Description of the methods used for quantification of the resource, and a performance assessment of the methods based on project experience
Reservoir creation | [5 empty] | Overview of how the geothermal reservoir is to be created or developed, including: a) phased or modular development of the resource b) reservoir and flow modelling used c) stimulation approach including monitoring and risk analysis of induced seismicity d) testing to confirm reservoir characteristics and heat extraction potential before and after stimulation e) the fluids used to create the reservoir and their further use (rejection, reinjection, treatment, etc.)
Drilling wells | [5 empty] | Overview of the proposed approach to drilling of wells including: a) the drilling technology used, including materials for casing, grouting and filter screen. b) the number, depth and configuration of exploratory, production, injection and monitoring wells (for deviated wells: surface (wellhead) location and well trajectory). c) well completion d) a summary of previous experience of drilling wells in the area (whether by the Project Sponsor or others). e) types of data gathered during the drilling programme and testing/data collection tools/methods. f) monitoring and measures adapted to avoid potential environmental impact of the drilling process
Reservoir clogging/scaling/corrosion | [5 empty] | Describe how well and/or reservoir clogging, scaling and corrosion will be managed or avoided, including any remedial actions taken and lessons learnt.
A1.4 Resource and Energy Yield Assessment
Energy performance | [5 empty] | Actual energy performance plot/curve displaying * monthly average electricity production over the previous operative year * total yearly generation versus total project capacity. Include deviations from the expected performance and any remedial alterations made to the design or operation.
Accuracy of energy yield assessment | [5 empty] | Based on the performance of the Project, comment on the accuracy of the energy yield assessment used to complete the Project Proposal.
Temperature changes | [5 empty] | Provide an account of the changes in temperature brought about by the Project thus far, and how such changes have affected power generation/heat supply. Comment on whether temperature changes experience may have an impact on the expected performance of the plant, and whether remedial actions to the wells or reservoir will be necessary.
Project specific technical parameters | [5 empty] | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary under any of the headings above
Deviations | [5 empty] | Comment on any deviations from the previous reporting period phase and reasons therefore. Include a separate line under each parameter where deviations occurred

## PV
Photovoltaics | DRAFT |  |  |  |  | Fill in the fields relevant to your project. If not relevant, mark as n/a and explain why.
Please provide all data that is quantitative also in separate clearly marked tabs
A1 Technical Set-up and Performance (L1) | At application | Agreed at grant award | At financial close | At entry into operation | Annual period 1 (copy for next periods) | If no change, please mark same as previous period
A1.2 Summary of technology | [5 empty] | Overview of the technology deployed
Please describe: - the CPV, Si-thin-film PV or CIGS PV module design, and the layout of the PV panel. Please highlight areas of the Power Plant which have deviated from the proposed design, and reasons for this deviation - details of the range of operating temperatures designed for and observed - the mechanical support structure for the panels - the configuration of the solar field - the geotechnical conditions of the site particularly affecting the PV panel supporting structures - the other main components (including grid connection and inverters) used within the Power Plant. Please highlight areas of the Power Plant which have deviated from the proposed design, and reasons therefore
Describe the overall power plant requirements, including: - water demand for panel maintenance (cleaning), describing how the water demand is met - annual ancillary power requirements of the PV plant - any other required utilities/consumables for the operation and maintenance of the PV plant - any deviations from the expected overall plant requirements from the design phase or previous operative years.
Describe the associated waste products from the CPV, Si-thin-film PV or CIGS PV Plant operation, and of the handling and disposal systems deployed
Provide the block flow diagram of the CPV, Si-thin-film PV or CIGS PV Power plant, including: - DC connecting circuits (connecting boxes, cabling) - connection to inverters - AC connecting circuits - associated utilities (delivery to grid, metering, storage, ancillary systems - any deviations in design to the areas above and reasons therefore
A1.2. Resources and energy yield assessment
A1.2.1 Monthly electricity production | [5 empty] | Measured monthly electricity production from the PV plant over the previous operative year. Include deviations from the expected performance and any remedial alterations made to the design or operation
A1.2.2 Performance of the modules | [5 empty] | Characterise the performance of the modules, according to the IEC 61724 'Photovoltaic system performance monitoring'. The performance reporting should include, but not be limited to: a) total achieved area efficiency of the module [%] b) nominal rating [kW] c) peak power [kWp]
A1.2.3 PV plant site insolation | [5 empty] | Characterise the measured insolation for the PV plant site over the previous operative year
A1.2.4 Energy yield assessment accuracy | [5 empty] | Based on the energy performance of the Project, comment on the accuracy of the energy yield assessment used to complete the Project Proposal. Include an appraisal of the techniques used for data collection to measure irradiance.
A1.2.5 Extreme weather and alterations | [5 empty] | Comment on any unexpected extreme weather characteristics of the site, and any necessary alterations made to the PV Plant.
Project specific technical parameters | [5 empty] | Describe technical parameters, which are specific to the project and would be useful to be shared with other projects after aggregation and anonymization. Include as many lines as necessary under any of the headings above
Deviations | [5 empty] | Comment on any deviations from the previous reporting period phase and reasons therefore. Include a separate line under each parameter where deviations occurred

## General project details
Example
| Wind turbine generator (WTG) | Latitude | Longitude | Height (sea level)
Please specify type of geocoordinates used (WGS84, ecc)
WTG1
…

## A1.3.1
Please provide all data presented in this section (figures, screenshorts) also as numerical data. |  |  |  |  | Example
Year of reporting | Month | Monthly average wind speeds | Planned monthly average wind speeds (P50) | Planned monthly average wind speeds (P75) | Planned monthly average wind speeds (P90) | Optional: Add additional columns as needed | Optional: Add additional columns as needed
|  | [m/s] | [m/s] | [m/s] | [m/s] | [...] | [...]
… | January | insert value | insert value | insert value | insert value | insert value | insert value
| February | insert value | insert value | insert value | insert value | insert value | insert value
| March | insert value | insert value | insert value | insert value | insert value | insert value
| April | insert value | insert value | insert value | insert value | insert value | insert value
| May | insert value | insert value | insert value | insert value | insert value | insert value
| June | insert value | insert value | insert value | insert value | insert value | insert value
| July | insert value | insert value | insert value | insert value | insert value | insert value
| August | insert value | insert value | insert value | insert value | insert value | insert value
| September | insert value | insert value | insert value | insert value | insert value | insert value
| October | insert value | insert value | insert value | insert value | insert value | insert value
| November | insert value | insert value | insert value | insert value | insert value | insert value
| December | insert value | insert value | insert value | insert value | insert value | insert value
Previous Year
… | January | insert value | insert value | insert value | insert value | insert value | insert value
| February | insert value | insert value | insert value | insert value | insert value | insert value
| March | insert value | insert value | insert value | insert value | insert value | insert value
| April | insert value | insert value | insert value | insert value | insert value | insert value
| May | insert value | insert value | insert value | insert value | insert value | insert value
| June | insert value | insert value | insert value | insert value | insert value | insert value
| July | insert value | insert value | insert value | insert value | insert value | insert value
| August | insert value | insert value | insert value | insert value | insert value | insert value
| September | insert value | insert value | insert value | insert value | insert value | insert value
| October | insert value | insert value | insert value | insert value | insert value | insert value
| November | insert value | insert value | insert value | insert value | insert value | insert value
| December | insert value | insert value | insert value | insert value | insert value | insert value

## A1.3.2
Example
Year of reporting | Month | Monthly electricity production | Cumulated electricity production | Nominal capacity | Planned monthly electricity production (P50) | Planned monthly electricity production (P75) | Planned monthly electricity production (P90) | Capacity factor | Optional: Add additional columns as needed | Optional: Add additional columns as needed
|  | [MWh] | [MWh] | [MW] | [MWh] | [MWh] | [MWh] | [%] | [...] | [...]
… | January | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| February | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| March | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| April | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| May | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| June | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| July | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| August | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| September | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| October | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| November | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| December | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
Previous Year
… | January | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| February | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| March | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| April | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| May | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| June | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| July | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| August | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| September | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| October | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| November | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value
| December | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value | insert value

## A1.6.1
Example
Year of reporting | Month | Number of site visits for corrective maintenance | Downtime hours for corrective maintenance | Optional: Add additional columns as needed | Optional: Add additional columns as needed
|  | [#] | [hours] | [...] | [...]
… | January | insert value | insert value | insert value | insert value
| February | insert value | insert value | insert value | insert value
| March | insert value | insert value | insert value | insert value
| April | insert value | insert value | insert value | insert value
| May | insert value | insert value | insert value | insert value
| June | insert value | insert value | insert value | insert value
| July | insert value | insert value | insert value | insert value
| August | insert value | insert value | insert value | insert value
| September | insert value | insert value | insert value | insert value
| October | insert value | insert value | insert value | insert value
| November | insert value | insert value | insert value | insert value
| December | insert value | insert value | insert value | insert value
Previous Year
… | January | insert value | insert value | insert value | insert value
| February | insert value | insert value | insert value | insert value
| March | insert value | insert value | insert value | insert value
| April | insert value | insert value | insert value | insert value
| May | insert value | insert value | insert value | insert value
| June | insert value | insert value | insert value | insert value
| July | insert value | insert value | insert value | insert value
| August | insert value | insert value | insert value | insert value
| September | insert value | insert value | insert value | insert value
| October | insert value | insert value | insert value | insert value
| November | insert value | insert value | insert value | insert value
| December | insert value | insert value | insert value | insert value

## A1.6.2
Example
Year of reporting | Month | Number of site visits for preventive maintenance | Downtime hours for preventive maintenance | Optional: Add additional columns as needed | Optional: Add additional columns as needed
|  | [#] | [hours] | [...] | [...]
… | January | insert value | insert value | insert value | insert value
| February | insert value | insert value | insert value | insert value
| March | insert value | insert value | insert value | insert value
| April | insert value | insert value | insert value | insert value
| May | insert value | insert value | insert value | insert value
| June | insert value | insert value | insert value | insert value
| July | insert value | insert value | insert value | insert value
| August | insert value | insert value | insert value | insert value
| September | insert value | insert value | insert value | insert value
| October | insert value | insert value | insert value | insert value
| November | insert value | insert value | insert value | insert value
| December | insert value | insert value | insert value | insert value
Previous Year
… | January | insert value | insert value | insert value | insert value
| February | insert value | insert value | insert value | insert value
| March | insert value | insert value | insert value | insert value
| April | insert value | insert value | insert value | insert value
| May | insert value | insert value | insert value | insert value
| June | insert value | insert value | insert value | insert value
| July | insert value | insert value | insert value | insert value
| August | insert value | insert value | insert value | insert value
| September | insert value | insert value | insert value | insert value
| October | insert value | insert value | insert value | insert value
| November | insert value | insert value | insert value | insert value
| December | insert value | insert value | insert value | insert value

## A1.6.3
Example
Year of reporting | Wind turbine generator (WTG) | Number of maintenance and repair hours | Share of corrective maintenance | Share of preventive maintenance | Optional: Add additional columns as needed | Optional: Add additional columns as needed
|  | [hours] | [%] | [%] | [...] | [...]
… | WTG01 | insert value | insert value | insert value | insert value | insert value
| WTG02 | insert value | insert value | insert value | insert value | insert value
| … | insert value | insert value | insert value | insert value | insert value
Previous Year
| WTG01 | insert value | insert value | insert value | insert value | insert value
… | WTG02 | insert value | insert value | insert value | insert value | insert value
| … | insert value | insert value | insert value | insert value | insert value

## A2.1
Example
Year of reporting | Month | Net electricity production | Target production | Losses/Deviations from target | Deviation wind | Losses turbine availability | Curtailment | Ice | Optional: Add as needed |  | Optional: Add additional columns as needed | Optional: Add additional columns as needed
|  | [MWh] | [MWh] |  | [MWh] | [MWh] | [MWh] | [MWh] | [MWh] |  | [...] | [...]
… | January | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| February | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| March | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| April | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| May | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| June | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| July | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| August | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| September | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| October | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| November | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| December | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
Previous Year
… | January | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| February | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| March | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| April | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| May | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| June | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| July | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| August | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| September | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| October | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| November | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
| December | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value |  | insert value | insert value
Reliability and causes of downtime per wind turbine
|  | O&M category - Preventive maintenance | [6 empty] | O&M category - Corrective maintenance
Year of reporting | Wind turbine generator (WTG) | Failure mode 1 (Please specify) | Failure mode 2 (Please specify) | Failure mode 3 (Please specify) | Failure mode 4 (Please specify) | … |  |  | Failure mode 1 (Please specify) | Failure mode 2 (Please specify) | Failure mode 3 (Please specify) | Failure mode 4 (Please specify) | …
|  | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes] |  |  |  | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes]
| WTG1 | insert value | insert value | insert value | insert value |  |  |  | insert value | insert value | insert value | insert value | insert value
| WTG2 | insert value | insert value | insert value | insert value |  |  |  | insert value | insert value | insert value | insert value | insert value
| … | insert value | insert value | insert value | insert value |  |  |  | insert value | insert value | insert value | insert value | insert value

## A2.2
Example
Reliability and causes of downtime per wind turbine
|  | O&M category - Preventive maintenance |  |  |  |  | O&M category - Corrective maintenance
Year of reporting | Wind turbine generator (WTG) | Failure mode 1 (Please specify) | Failure mode 2 (Please specify) | Failure mode 3 (Please specify) | Failure mode 4 (Please specify) | … | Failure mode 1 (Please specify) | Failure mode 2 (Please specify) | Failure mode 3 (Please specify) | Failure mode 4 (Please specify) | …
|  | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes] |  | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes] | [% of yearly total failure modes]
| WTG1 | insert value | insert value | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value
| WTG2 | insert value | insert value | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value
| … | insert value | insert value | insert value | insert value |  | insert value | insert value | insert value | insert value | insert value

## C1
Example
Total investment costs to date [€]: | capital equipment [€] | site infrastructure [€] | development costs [€] | installation and commissioning [€] | intangible assets (incl. technology license) [€] | other [€]

## C2
Example
Operating costs in the previous operative year [€]: | operation and maintenance [€] | services [€] | staff costs [€] | overheads [€] | waste disposal [€] | local rates and taxes [€] | insurance [€] | knowledge sharing [€] | other [€]