NER 300–INNOVATIVE RENEWABLE ENERGY SOURCES (RES)
 Wind

RELEVANT KNOWLEDGE COLLECTION FORM: RES/WINa/b/c/d/e/f

(for use by Project Sponsors)

Knowledge-Sharing Requirements

This form is a template for the documentation of the relevant knowledge generated from renewable energy (RES) wind demonstration projects, which have been selected under the NER 300 process, or have agreed to share information with the Commission.

In order to receive Project Funding, the completion of this Relevant Knowledge Form is mandatory to comply with Article 12 of Decision 2010/670/EU and Annex 3 (Specifications for Legally Binding Instrument (SLBI)) and Annex II (Knowledge-Sharing Requirements) of both NER 300 Award Decisions.

This Form is structured to reflect the Knowledge Sharing Obligations as stated in Annex II of the Award Decisions as above. Where appropriate, additional guidance is given on the expected Relevant Knowledge to be provided.

Pursuant and with reference to Point 8 of the SLBI, this Form distinguishes between Relevant Knowledge to be distributed to both Level 1 (L1) and Level 2 (L2) recipients. Level 1 recipients are all NER 300 projects in the wind energy category (WINa/b/c/d/e/f), and any other project which has agreed to share information with the Commission on terms equivalent to Annex II of the SLBI (for example offshore wind projects funded by the European Energy Programme for Recovery-EEPR). Level 2 recipients are the wider CCS and renewable energy community (Commission, Member States, researchers, non-governmental organisations (NGOs), international organisations and other projects) and, where appropriate, the public.

The Commission may decide when appropriate, to aggregate Level 1 Relevant Knowledge to be shared beyond Level 1 Recipients (i.e. at Level 2), with the objective that the result cannot be ascribed to individual projects, organisations or persons.

IMPORTANT DISCLAIMER: This document, as well as the information and data in it, are to be considered confidential and provided to the European Commission for the sole purposes of monitoring and evaluating the implementation of NER 300 projects. The European Commission will not disclose this document, its information or data to any third party for any purpose. A methodology to identify sensitive data, aggregate them and disseminate them to Level 1 and/or Level 2 recipients will be discussed and agreed with project sponsors and Member States by the end of 2014, so as to ensure that no damage of any sort will be caused to project sponsors and their partners.

General instructions

After Table 1.2 ‘General project information’ and Table 1.3 ‘Contact details’ have been completed, the Relevant Knowledge to be documented in this form is structured into Sections A-F as follows:

Table 1.1 Relevant Knowledge Section Overview

| Section | Knowledge Category | Recipient Level |
| --- | --- | --- |
| A1 | Technical set-up and performance | L1 |
| A2 | Technical set-up and performance | L2 |
| B | Cost levels | L1 and 2 |
| C1 | Project management | L1 |
| C2 | Project Management | L2 |
| D | Environmental impact | L1 and 2 |
| E | Health and safety | L1 and 2 |
| F | Agreement to take part in dissemination activities | L1 and 2 |

Only modifications made to the format of this Form which increase the space for entry of Relevant Knowledge or facilitate the provision of the Relevant Knowledge will be accepted.

As the completion of Relevant Knowledge Forms must be completed on regular annual intervals, the information provided should cover Relevant Knowledge attained during the preceding operative year. It is not necessary to provide Relevant Knowledge from previous operative years that have already been provided to the Commission, unless this is necessary for explaining modifications to the design and/or operation of the Project.

General Project information and contact details

Please complete the following table in respect of the NER 300 Project. The general project information should be identical to details provided in the Application Forms, unless changes have been communicated to the Commission prior to the completion of this Form.

Table 1.2 General Project details

|  | Item | Response |
| --- | --- | --- |
| a | Registered name of the Project Sponsor. |  |
| b | Project name |  |
| c | Please highlight sub Category | WINa WINb WINc WINd WINe WINf |
| d | Please provide details of Project location(s) and geographical coordinates of all relevant elements of the Project, including each wind turbine separately. |  |
| e | Date of entry into operation |  |
| f | Member State |  |
| g | Full name of relevant department in Member State/Lead Member State and name of departmental contact |  |

Table 1.3 Contact details of project sponsor

|  | Response |
| --- | --- |
| Name: |  |
| Title/Position: |  |
| Organisation: |  |
| Address: |  |
| Telephone: |  |
| Fax: |  |
| Email address: |  |

A1. Technical Set-up and Performance (Level 1)

To support further validation of renewables, sharing in Technical Set-up and Performance Category is expected to be at the level of the various component processes and technologies deployed. It is anticipated that deployment of renewable technologies will be best advanced by the facilitation of exchange of information between developers/operators. The default position is that members agree to share as much information as possible on topics proposed by the Commission, unless there is a serious, legitimate and substantiated commercial concern.

Project Sponsors should place emphasis on design or operational deviations from either the Application Forms, or from Relevant Knowledge Forms from previous years.

Please provide the following information on the Technical Set-up and Performance:

Technical description

|  | An overview of the wind farm and associated infrastructure including a summary of the design and, for offshore projects, an indication of the average water depth and distance from shore. Please place a particular emphasis on the innovative aspects of the project. |
| --- | --- |

Turbine technology

|  | A summary of the wind turbine design, including detailed general description of turbine blades, hub, drive train and housing/nacelle, generator, tower, foundation, connections and any electrical conversion plant (transformer, converters etc.) contained within the turbine structure which is sufficient to share advances in technology without disclosing business sensitive information. When describing foundations, please provide: the general technical description of the wind turbine structural foundation solution(s), including transition piece where applicable, including design basis, dimensions, tolerances, corrosion protection and other relevant aspects which is sufficient to share advances in technology without disclosing business sensitive information. Comment on any deviations from the design phase and reasons therefore. details of ‘J tubes’ or alternative method for connecting inter-array export cables to foundation description of the monthly average site conditions experienced during the implementation of the project, including (wave and wind) details of method used for connecting inter-array export cables between the seabed and foundation/turbine In terms of grid integration equipment, please provide: a summary of any substation used (either onshore or offshore, if applicable), including locations, plant (including layout of equipment and other facilities within the substation) and access arrangements. Include any remedial alterations made to the design or operation due to unanticipated performance details for the foundation solution of the offshore substation (if applicable) description of the substation services (if applicable), e.g. for power generation, as well as their electrical equipment, e.g. reactive compensation, switchgear, transformers, power conversion and others. Comment on compliance measures with relevant legislation and design standards cabling used (both inter-array and power export ones), including their technical details (e.g. AC transmission or DC transmission, materials used, dimensions, corrosion protection, voltages used, cable rating and other relevant parameters), ground conditions along the cable route, cable laying technology and details of connection to turbines and substation. Include deviations from the expected performance and any remedial alterations made to the design or operation details of redundancy in system and control measures to be taken during unavailability of power export system Finally, please highlight areas of the power plant which have deviated from the proposed design, and reasons therefore |
| --- | --- |

|  | A summary of remote communications for wind turbine control and instrumentation used, including a description of the operation and plant condition data to be transferred and communications technology. Comment on any deviations from the design phase and reasons therefore. |
| --- | --- |

|  | Provide details of the turbine installation process undertaken, including installation technologies used, types of vessels and their contribution (if applicable), weather risks, methods and tools used to overcome terrain complexity (for onshore projects) and necessary shore-side facilities (for offshore projects). Furthermore, provide a description of the final structure / layout of the wind farm. |
| --- | --- |

| A1.2.4 | Based on the performance and experience gained during the project programme thus far, comment on the suitability of the technology to be scaled-up, including any required changes in design, construction methods or materials and any risks foreseen. |
| --- | --- |

Resource and Energy Yield Assessment

|  | An actual energy performance plot/curve displaying a monthly average electricity production over the previous operative year, along with total yearly generation versus total project capacity. Include deviations from the expected performance and any remedial alterations made to the design or operation. |
| --- | --- |

|  | Based on the performance of the Project, comment on the accuracy of the energy yield assessment used to complete the Project Proposal. Include an appraisal of the techniques used for data collection to monitor site wind conditions and the accuracy of wind flow/wake loss modeling. |
| --- | --- |

|  | Provide both the final weight to power ratio of a turbine (not including foundation/support structures) in kg/kW and also the estimated lifetime capacity factor in kW/kWh (where the lifetime electricity production should be determined from average performance achieved to date in the project, extrapolated to a stated design lifetime). |
| --- | --- |

|  | Describe the observed extreme wind speeds and turbulence characteristics at the site, and any necessary alterations made to the wind turbine. |
| --- | --- |

Operation and maintenance

|  | Number of site visits made and downtime hours for corrective maintenance |
| --- | --- |

|  | Number of site visits made and downtime hours for preventive maintenance |
| --- | --- |

|  | Total number of maintenance and repair hours over the project lifetime (to date) per wind turbine [total hours/number of turbines] |
| --- | --- |

|  | If applicable, vessel types and number of vessels per type applied for maintenance |
| --- | --- |

A2. Technical Set-up and Performance (Level 2)

Sharing in Technical Set-up and Performance Category, is pursuant to Annex II of the Specifications for Legally Binding Instrument. In accordance with the Relevant Knowledge categories, an outline of the plant design, a number of key performance indicators, the environmental impacts and health and safety issues must be documented. As with Section A1, the information provided should cover Relevant Knowledge attained during the preceding operative year.

| A2.1 | Outline plant design and operating approach |
| --- | --- |

| A2.2 | Average monthly performance (MWh) compared to target, including reliability and generalised causes of downtime plus impacts of any changes to operating conditions |
| --- | --- |

| A2.3 | Data acquisition methods |
| --- | --- |

| A2.4 | Electricity produced (MWh/per annum) |
| --- | --- |

| A2.5 | Energy used, produced and exported. If possible, estimate efficiency and losses of the system. |
| --- | --- |

| A2.6 | Wind power quality compared to initial specifications, including reasons for any deviation. Frequency and voltage stability as well as any application to improve system reliability should be taken into consideration (e.g. reactive power compensation, static transfer switches, energy storage or variable-speed generations) |
| --- | --- |

| A2.7 | Questions for further research. Describe also any limitations to the current innovative items or technologies, and how such innovations can be further developed |
| --- | --- |

B. Cost levels (Level 1 and 2)

Please note that costs to be reported in this section are real costs (not budgeted) incurred during the preceding operative year.

The categorization of the costs is to follow the structure and requirements of Application Form 11.

| B.1 | Total investment costs to date [€]: capital equipment site infrastructure development costs installation and commissioning intangible assets (incl. technology license) grid connection other |
| --- | --- |

| B.2 | Operating costs in the previous operative year [€]: operation and maintenance services staff costs overheads waste disposal local rates and taxes insurance knowledge sharing other |
| --- | --- |

C1. Project Management (Level 1)

The purpose of Section C1 Project Management is to attain information on approaches towards managing the project programme of the RES demonstration project. The information provided should cover Relevant Knowledge attained during the preceding operative year.

| C.1.1 | List and brief description of the permits and consents needed, the authorities involved, the documents that the project developer had to provide, and the lessons learned and experiences in obtaining planning permission and negotiating legislative considerations (steps, roles, time-frame) |
| --- | --- |

| C.1.2 | Stakeholder engagement and public communication strategies, including: timing/frequency of stakeholder engagement methods of communication challenges faced and lessons learned target groups selected and estimation of number of stakeholders reached |
| --- | --- |

| C.1.3 | Project planning issues, including progress against key milestones and their interdependencies |
| --- | --- |

| C.1.4 | Risk management and allocation strategies (risk ranking, and statistical inputs) |
| --- | --- |

| C.1.5 | Lessons learned and experiences in consortium management (roles and governance model) |
| --- | --- |

| C.1.6 | Lessons learned and experiences in how to finance, insure and minimise risk for a full project or future projects |
| --- | --- |

C2. Project Management (Level 2)

The information provided should cover Relevant Knowledge attained during the preceding operative year.

| C.2.1 | Aggregated information on good practices in the above areas |
| --- | --- |

D. Environmental Impact (Level 1 and 2)

Please complete the Relevant Knowledge category for Section D Environmental Impact.

The information provided should cover Relevant Knowledge attained during the preceding operative year. Information can be extracted, where relevant, from Environmental Impact Assessments conducted for the Project in accordance with Directive 85/337/EEC.

| D.1 | Methods of transport and the associated environmental impact |
| --- | --- |

| D.2 | Visual impact on the landscape and associated issues, including installation of additional overhead cables (where applicable) |
| --- | --- |

| D.3 | Impact on cultural heritage (where applicable) |
| --- | --- |

| D.4 | Impact on communication networks (where applicable) |
| --- | --- |

| D.5 | Impact on designated ecological and environmental receptors, in particular on birdlife |
| --- | --- |

| D.6 | Impact on connecting to the national grid using under/over ground cables |
| --- | --- |

| D.7 | Impact on geology, acquifers and water sources |
| --- | --- |

| D.8 | Emissions to the environment (gaseous, liquid, solid) in both undisturbed and disturbed operation |
| --- | --- |

| D.9 | Other significant environmental impacts (e.g. noise) |
| --- | --- |

| D.10 | Reduction of CO2 emissions (total and per unit of output) by comparison with reference plant or product |
| --- | --- |

| D.11 | Questions for further research |
| --- | --- |

E. Health and Safety (Level 1 and 2)

Please complete the Relevant Knowledge category for Section E Health and Safety.

The information provided should cover Relevant Knowledge attained during the preceding operative year.

| E.1 | Safety incidents, including: location: output: impact: environmental emissions (air, water, land): cause of incident: resolution measures taken: key lessons learned: |
| --- | --- |

| E.2 | Health issues in regular/undisturbed operation compared to the levels before project implementation, if applicable, or to the levels recommended in European Regulations (e.g. REACH). Please comment on (where relevant): hazardous substances or situations and their potential impacts exposure values related to relevant chemical agents at work exposure to carcinogens or mutagens at work exposure to physical hazards at work such as noise and vibration other |
| --- | --- |

| E.3 | Near misses, including: location output cause measures taken key lessons learned |
| --- | --- |

| E.4 | Description of monitoring and resolution systems to track safety |
| --- | --- |

| E.5 | Number of incidents per hour operated |
| --- | --- |

F. Declaration for dissemination (Level 1 and 2)

I the undersigned, (include full name and job title here), hereby declare that the organisation I represent, (include full name here), as well as its partners in the NER 300 project it sponsors, (include full project name and acronym here), agree to participate in the dissemination activities foreseen under the NER 300 knowledge sharing scheme at both Level 1 and Level 2.

For sensitive data, to be disseminated in an aggregated way at Level 1 and/or Level 2, I am aware that a dedicated methodology will be agreed among project sponsors, Member States and the European Commission.

Yours sincerely,

Name, date and signature of project sponsor authorised legal representative

# Footnotes

Commission Decision 2010/670/EU of 3 November 2010 laying down criteria and measures for the financing of commercial demonstration projects that aim at the environmentally safe capture and geological storage of CO2 as well as demonstration projects of innovative renewable energy technologies under the scheme for greenhouse gas emission allowance trading within the Community established by Directive 2003/87/EC of the European Parliament and of the Council (notified under document C(2010) 7499). OJ L290, 6.11.2010, p. 39

Commission Implementing Decision of 18 December 2012, Award Decision under the first call for proposals of the NER 300 funding programme, C(2012) 9432, as amended by C(2014) 383;

Commission Implementing Decision of 8 July 2014, Award Decision under the second call for proposals of the NER 300 funding programme, C(2014) 4493.

Lead Member State in the case of trans-boundary projects

In the case that this is the first Relevant Knowledge Form to be completed since entry into operation.

Pursuant to Directive 2000/39/EC

Pursuant to Directive 2004/37/EC

Pursuant to Directive 2003/10/EC

Pursuant to Directive 2002/44/EC